## Contents
Annual Report of Energy Consumption and Energy Cost for the year 2021-2022 of Single Point Supply of Vadakke Madham Brahmaswam at Thrissur
CONTENTS
1 | Covering Letter
2 | Consumer Details, Connected Load, Contract Demand (Table-1)
3 | Actual Monthly Consumption (Table-2.1, 2.2)
4 | Month wise Electricity Charges Collected from Individual Beneficiaries (Table-3.1 to3.12)
5 | Annual Running and Maintenance Cost (Table-4)
6 | Balance Sheet of Remittance and Collection of Electricity Cost (Table-5)
7 | Proposal for New Connections (Table-6)

## Table-1
TABLE-1
CONSUMER DETAILS, CONNECTED LOAD AND CONTRACT DEMAND
Sl. No. | Party | Purpose of Usage | Connected Load (KW) | Contract Demand (KVA)
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | Commercial | 34.05 | 20
2 | M/S Vadakke Madham Brahmaswam (Common Use) | Commercial | 36.37 | 20
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | Commercial | 256.91 | 125
4 | M/S CSB Bank Ltd. | Bank/ Finance | 35.3 | 20
5 | M/S Sundaram Finance | Bank/ Finance | 13.41 | 8
| TOTAL |  | 376.04 | 193

## Table-2.1
(TABLE-2.1)
TABLE OF ACTUAL MONTHLY CONSUMPTION LT POWER
Month | Montly Energy Consumption | Monthly Demand | Energy Charge | Demand Charge | Surcharge | Duty | Total
April 21 | 24492 | 216.3 | 248236.5 | 44682 | 612.3 | 24823.65 | 318354.45
May 21 | 2820 | 53.6 | 26194.22 | 9016 | 70.5 | 2619.42 | 37900.14
June 21 | 8228 | 179.6 | 80060.27 | 36556 | 205.7 | 8006.03 | 124828
July 21 | 14149 | 181.65 | 140358.87 | 36959.4 | 353.73 | 14035.89 | 191707.89
August 21 | 25313 | 230.56 | 256827.49 | 47532.4 | 632.83 | 25682.74 | 330675.46
September 21 | 23999 | 182.48 | 245122.04 | 37082 | 599.98 | 24512.2 | 307316.22
October 21 | 28617.6 | 178.83 | 290050.24 | 37171 | 715.44 | 29005.02 | 356941.7
November 21 | 32147.2 | 182.49 | 326074.21 | 37768.2 | 803.68 | 32607.42 | 397253.51
December 21 | 34396.8 | 167.1 | 349416.99 | 34542.4 | 859.92 | 34941.7 | 419761.01
January 22 | 33120.6 | 219.02 | 337649.99 | 44286.4 | 828.02 | 33764.99 | 416529.4
February 22 | 30658.6 | 202.9 | 309549.14 | 41180.8 | 766.47 | 30954.91 | 382451.32
March 22 | 31089.6 | 193.23 | 292652.79 | 38189.8 | 777.24 | 29265.28 | 360885.11
TOTAL |  |  | 2902192.75 | 444966.4 | 7225.81 | 290219.25 | 3644604.21

## Table-2.2
(TABLE-2.2)
TABLE OF ACTUAL MONTHLY CONSUMPTION H.T POWER(SINGLE POINT SUPPLY)
Month | Montly Energy Consumption | Monthly Demand | Energy Charge | Demand Charge | Surcharge | Duty | Total
April 21 | 25595 | 155.11 | 222132.2 | 69799.5 | 639.88 | 27197.7 | 319769.28
May 21 | 3707 | 150 | 29563.78 | 67500 | 92.68 | 3515.42 | 100671.88
June 21 | 8070 | 150 | 74538.48 | 67500 | 228.12 | 9234.5 | 151501.1
July 21 | 15384 | 155.11 | 128430.3 | 67500 | 384.6 | 15898.04 | 212212.94
August 21 | 26478 | 196.46 | 231910.42 | 88407 | 661.95 | 28156.68 | 349136.05
September 21 | 25059 | 150 | 218235.53 | 67500 | 626.48 | 26821.54 | 313183.55
October 21 | 29805 | 150 | 258418.88 | 67500 | 745.12 | 31697 | 358361
November 21 | 33147 | 150 | 288008.32 | 67500 | 828.68 | 33371 | 389708
December 21 | 35412 | 150 | 308941.35 | 67500 | 885.3 | 37844 | 415170.65
January 22 | 34134 | 174.25 | 299485.05 | 78412.5 | 853.35 | 36592 | 415342.9
February 22 | 31680 | 157.99 | 275127.38 | 71095.5 | 792 | 33610 | 380624.88
March 22 | 31968 | 150.46 | 260824.42 | 67707 | 799.2 | 3185 | 332515.62
TOTAL |  |  | 2595616.11 | 847921.5 | 7537.36 | 287122.88 | 3738197.85

## Table-3.1
(TABLE-3.1)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR APRIL 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 270 | 65 | 100 | 435 | 9.3 | 2511 | 906.75 | 697.5 | 4115.25 | 140 | 9.1 | 1274 | 411.525 | 10.875 | 5811.65
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 403 | 97 | 150 | 650 | 9.3 | 3747.9 | 1353.15 | 1046.25 | 6147.3 | 140 | 15.5 | 2170 | 614.73 | 16.25 | 8948.28
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 12687 | 5730 | 2046 | 20463 | 9.3 | 117989.1 | 79933.5 | 14270.85 | 212193.45 | 220 | 168.3 | 37026 | 21219.345 | 511.575 | 270950.37
4 | M/S CSB Bank Ltd. | 35.3 | 1817 | 233 | 280 | 2330 | 8.5 | 15444.5 | 2970.75 | 1785 | 20200.25 | 180 | 19.2 | 3456 | 2020.025 | 58.25 | 25734.525
5 | M/S Sundaram Finance | 13.41 | 514 | 90 | 10 | 614 | 8.5 | 4369 | 1147.5 | 63.75 | 5580.25 | 180 | 4.2 | 756 | 558.025 | 15.35 | 6909.625
| TOTAL |  | 15691 | 6215 | 2586 | 24492 |  | 144061.5 | 86311.65 | 17863.35 | 248236.5 |  | 216.3 | 44682 | 24823.65 | 612.3 | 318354.45

## Table-3.2
(TABLE-3.2)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR MAY 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 138 | 34 | 51 | 223 | 9.3 | 1283.4 | 474.3 | 355.73 | 2113.43 | 140 | 8.3 | 1162 | 211.343 | 5.575 | 3492.348
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 443 | 107 | 165 | 715 | 9.3 | 4119.9 | 1492.65 | 1150.88 | 6763.43 | 140 | 17.1 | 2394 | 676.343 | 17.875 | 9851.648
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 353 | 160 | 57 | 570 | 9.3 | 3282.9 | 2232 | 397.58 | 5912.48 | 220 | 9.6 | 2112 | 591.248 | 14.25 | 8629.978
4 | M/S CSB Bank Ltd. | 35.3 | 981 | 126 | 151 | 1258 | 8.5 | 8338.5 | 1606.5 | 962.63 | 10907.63 | 180 | 17.5 | 3150 | 1090.763 | 31.45 | 15179.843
5 | M/S Sundaram Finance | 13.41 | 42 | 10 | 2 | 54 | 8.5 | 357 | 127.5 | 12.75 | 497.25 | 180 | 1.1 | 198 | 49.725 | 1.35 | 746.325
| TOTAL |  | 1957 | 437 | 426 | 2820 |  | 17381.7 | 5932.95 | 2879.57 | 26194.22 |  | 53.6 | 9016 | 2619.422 | 70.5 | 37900.142

## Table-3.3
(TABLE-3.3)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR JUNE 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 176 | 43 | 64 | 283 | 9.3 | 1636.8 | 599.85 | 453.38 | 2690.03 | 140 | 8.1 | 1134 | 269.003 | 7.075 | 4100.108
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 456 | 110 | 169 | 735 | 9.3 | 4240.8 | 1534.5 | 1178.78 | 6954.08 | 140 | 17.7 | 2478 | 695.408 | 18.375 | 10145.863
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 2758 | 1245 | 445 | 4448 | 9.3 | 25649.4 | 17367.75 | 3103.88 | 46121.03 | 220 | 131.5 | 28930 | 4612.103 | 111.2 | 79774.333
4 | M/S CSB Bank Ltd. | 35.3 | 1821 | 234 | 280 | 2335 | 8.5 | 15478.5 | 2983.5 | 1785 | 20247 | 180 | 18.2 | 3276 | 2024.7 | 58.375 | 25606.075
5 | M/S Sundaram Finance | 13.41 | 315 | 103 | 9 | 427 | 8.5 | 2677.5 | 1313.25 | 57.38 | 4048.13 | 180 | 4.1 | 738 | 404.813 | 10.675 | 5201.618
| TOTAL |  | 5526 | 1735 | 967 | 8228 |  | 49683 | 23798.85 | 6578.42 | 80060.27 |  | 179.6 | 36556 | 8006.027 | 205.7 | 124827.997

## Table-3.4
(TABLE-3.4)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR JULY 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 225 | 54 | 84 | 363 | 9.3 | 2092.5 | 753.3 | 585.9 | 3431.7 | 140 | 8.34 | 1167.6 | 343.17 | 9.075 | 4951.545
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 484 | 117 | 179 | 780 | 9.3 | 4501.2 | 1632.15 | 1248.53 | 7381.88 | 140 | 18 | 2520 | 738.188 | 19.5 | 10659.568
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 6031 | 2724 | 973 | 9728 | 9.3 | 56088.3 | 37999.8 | 6786.68 | 100874.78 | 220 | 132.9 | 29238 | 10087.478 | 243.2 | 140443.458
4 | M/S CSB Bank Ltd. | 35.3 | 2058 | 264 | 317 | 2639 | 8.5 | 17493 | 3366 | 2020.88 | 22879.88 | 180 | 18.36 | 3304.8 | 2287.988 | 65.975 | 28538.643
5 | M/S Sundaram Finance | 13.41 | 505 | 101 | 33 | 639 | 8.5 | 4292.5 | 1287.75 | 210.38 | 5790.63 | 180 | 4.05 | 729 | 579.063 | 15.975 | 7114.668
| TOTAL |  | 9303 | 3260 | 1586 | 14149 |  | 84467.5 | 45039 | 10852.37 | 140358.87 |  | 181.65 | 36959.4 | 14035.887 | 353.725 | 191707.882

## Table-3.5
(TABLE-3.5)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR AUGUST 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 263 | 64 | 98 | 425 | 9.3 | 2445.9 | 892.8 | 683.55 | 4022.25 | 140 | 9.88 | 1383.2 | 402.225 | 10.625 | 5818.3
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 508 | 123 | 189 | 820 | 9.3 | 4724.4 | 1715.85 | 1318.28 | 7758.53 | 140 | 18.75 | 2625 | 775.853 | 20.5 | 11179.883
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 13163 | 5945 | 2123 | 21231 | 9.3 | 122415.9 | 82932.75 | 14807.93 | 220156.58 | 220 | 179.42 | 39472.4 | 22015.658 | 530.775 | 282175.413
4 | M/S CSB Bank Ltd. | 35.3 | 1697 | 219 | 263 | 2179 | 8.5 | 14424.5 | 2792.25 | 1676.63 | 18893.38 | 180 | 18.46 | 3322.8 | 1889.338 | 54.475 | 24159.993
5 | M/S Sundaram Finance | 13.41 | 533 | 105 | 20 | 658 | 8.5 | 4530.5 | 1338.75 | 127.5 | 5996.75 | 180 | 4.05 | 729 | 599.675 | 16.45 | 7341.875
| TOTAL |  | 16164 | 6456 | 2693 | 25313 |  | 148541.2 | 89672.4 | 18613.89 | 256827.49 |  | 230.56 | 47532.4 | 25682.749 | 632.825 | 330675.464

## Table-3.6
(TABLE-3.6)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR SEPTEMBER 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 281 | 59 | 108 | 448 | 9.3 | 2613.3 | 823.05 | 753.3 | 4189.65 | 140 | 8.34 | 1167.6 | 418.965 | 11.2 | 5787.415
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 555 | 335 | 152 | 1042 | 9.3 | 5161.5 | 4673.25 | 1060.2 | 10894.95 | 140 | 18.75 | 2625 | 1089.495 | 26.05 | 14635.495
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 11968 | 5682 | 1805 | 19455 | 9.3 | 111302.4 | 79263.9 | 12589.88 | 203156.18 | 220 | 132.98 | 29255.6 | 20315.618 | 486.375 | 253213.773
4 | M/S CSB Bank Ltd. | 35.3 | 1822 | 280 | 307 | 2409 | 8.5 | 15487 | 3570 | 1957.13 | 21014.13 | 180 | 18.36 | 3304.8 | 2101.413 | 60.225 | 26480.568
5 | M/S Sundaram Finance | 13.41 | 520 | 102 | 23 | 645 | 8.5 | 4420 | 1300.5 | 146.63 | 5867.13 | 180 | 4.05 | 729 | 586.713 | 16.125 | 7198.968
| TOTAL |  | 15146 | 6458 | 2395 | 23999 |  | 138984.2 | 89630.7 | 16507.14 | 245122.04 |  | 182.48 | 37082 | 24512.204 | 599.975 | 307316.219

## Table-3.7
(TABLE-3.7)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR OCTOBER 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 281 | 59 | 108 | 448 | 9.3 | 2613.3 | 823.05 | 753.3 | 4189.65 | 140 | 11.2 | 1568 | 418.965 | 11.2 | 6187.815
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 553.4 | 381.6 | 188.6 | 1123.6 | 9.3 | 4703.9 | 4865.4 | 1202.33 | 10771.63 | 140 | 3.88 | 543.2 | 1077.163 | 28.09 | 12420.083
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 13987 | 6931 | 3074 | 23992 | 9.3 | 130079.1 | 96687.45 | 21441.15 | 248207.7 | 220 | 139.62 | 30716.4 | 24820.77 | 599.8 | 304344.67
4 | M/S CSB Bank Ltd. | 35.3 | 1822 | 280 | 307 | 2409 | 8.5 | 15487 | 3570 | 1957.13 | 21014.13 | 180 | 19.72 | 3549.6 | 2101.413 | 60.225 | 26725.368
5 | M/S Sundaram Finance | 13.41 | 520 | 102 | 23 | 645 | 8.5 | 4420 | 1300.5 | 146.63 | 5867.13 | 180 | 4.41 | 793.8 | 586.713 | 16.125 | 7263.768
| TOTAL |  | 17163.4 | 7753.6 | 3700.6 | 28617.6 |  | 157303.3 | 107246.4 | 25500.54 | 290050.24 |  | 178.83 | 37171 | 29005.024 | 715.44 | 356941.704

## Table-3.8
(TABLE-3.8)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR NOVEMBER 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 492 | 107 | 160 | 759 | 9.3 | 4575.6 | 1492.65 | 1116 | 7184.25 | 140 | 11.2 | 1568 | 718.425 | 18.975 | 9489.65
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 845.6 | 543 | 441.6 | 1830.2 | 9.3 | 7187.6 | 6923.25 | 2815.2 | 16926.05 | 140 | 7.16 | 1002.4 | 1692.605 | 45.755 | 19666.81
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 16007 | 7687 | 2924 | 26618 | 9.3 | 148865.1 | 107233.65 | 20394.9 | 276493.65 | 220 | 141.36 | 31099.2 | 27649.365 | 665.45 | 335907.665
4 | M/S CSB Bank Ltd. | 35.3 | 1770 | 176 | 241 | 2187 | 8.5 | 15045 | 2244 | 1536.38 | 18825.38 | 180 | 18.6 | 3348 | 1882.538 | 54.675 | 24110.593
5 | M/S Sundaram Finance | 13.41 | 595 | 91 | 67 | 753 | 8.5 | 5057.5 | 1160.25 | 427.13 | 6644.88 | 180 | 4.17 | 750.6 | 664.488 | 18.825 | 8078.793
| TOTAL |  | 19709.6 | 8604 | 3833.6 | 32147.2 |  | 180730.8 | 119053.8 | 26289.61 | 326074.21 |  | 182.49 | 37768.2 | 32607.421 | 803.68 | 397253.511

## Table-3.9
(TABLE-3.9)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR DECEMBER 2021
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 389 | 103 | 166 | 658 | 9.3 | 3617.7 | 1436.85 | 1157.85 | 6212.4 | 140 | 7.12 | 996.8 | 621.24 | 16.45 | 7846.89
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 1231.4 | 668.8 | 565.6 | 2465.8 | 9.3 | 10466.9 | 8527.2 | 3605.71 | 22599.81 | 140 | 10.72 | 1500.8 | 2259.981 | 61.645 | 26422.236
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 16774 | 8171 | 2680 | 27625 | 9.3 | 155998.2 | 113985.45 | 18693 | 288676.65 | 220 | 129.45 | 28479 | 28867.665 | 690.625 | 346713.94
4 | M/S CSB Bank Ltd. | 35.3 | 2069 | 272 | 307 | 2648 | 8.5 | 17586.5 | 3468 | 1957.13 | 23011.63 | 180 | 15 | 2700 | 2301.163 | 66.2 | 28078.993
5 | M/S Sundaram Finance | 13.41 | 743 | 151 | 106 | 1000 | 8.5 | 6315.5 | 1925.25 | 675.75 | 8916.5 | 180 | 4.81 | 865.8 | 891.65 | 25 | 10698.95
| TOTAL |  | 21206.4 | 9365.8 | 3824.6 | 34396.8 |  | 193984.8 | 129342.75 | 26089.44 | 349416.99 |  | 167.1 | 34542.4 | 34941.699 | 859.92 | 419761.009

## Table-3.10
(TABLE-3.10)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR JANUARY 2022
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 452 | 106 | 214 | 772 | 9.3 | 4203.6 | 1478.7 | 1492.65 | 7174.95 | 140 | 6.42 | 898.8 | 717.495 | 19.3 | 8810.545
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 2002.4 | 742 | 732.2 | 3476.6 | 9.3 | 17020.4 | 9460.5 | 4667.78 | 31148.68 | 140 | 29.88 | 4183.2 | 3114.868 | 86.915 | 38533.663
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 15055 | 8195 | 2146 | 25396 | 9.3 | 140011.5 | 114320.25 | 14968.35 | 269300.1 | 220 | 157.87 | 34731.4 | 26930.01 | 634.9 | 331596.41
4 | M/S CSB Bank Ltd. | 35.3 | 1874 | 261 | 407 | 2542 | 8.5 | 15929 | 3327.75 | 2594.63 | 21851.38 | 180 | 20.34 | 3661.2 | 2185.138 | 63.55 | 27761.268
5 | M/S Sundaram Finance | 13.41 | 673 | 124 | 137 | 934 | 8.5 | 5720.5 | 1581 | 873.38 | 8174.88 | 180 | 4.51 | 811.8 | 817.488 | 23.35 | 9827.518
| TOTAL |  | 20056.4 | 9428 | 3636.2 | 33120.6 |  | 182885 | 130168.2 | 24596.79 | 337649.99 |  | 219.02 | 44286.4 | 33764.999 | 828.015 | 416529.404

## Table-3.11
(TABLE-3.11)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR FEBRUARY 2022
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 422 | 107 | 188 | 717 | 9.3 | 3924.6 | 1492.65 | 1311.3 | 6728.55 | 140 | 8.5 | 1190 | 672.855 | 17.925 | 8609.33
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 1932.6 | 650 | 689 | 3271.6 | 9.3 | 16427.1 | 8287.5 | 4392.38 | 29106.98 | 140 | 23.96 | 3354.4 | 2910.698 | 81.79 | 35453.868
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 14044 | 7072 | 2230 | 23346 | 9.3 | 130609.2 | 98654.4 | 15554.25 | 244817.85 | 220 | 149.11 | 32804.2 | 24481.785 | 583.65 | 302687.485
4 | M/S CSB Bank Ltd. | 35.3 | 1858 | 218 | 297 | 2373 | 8.5 | 15793 | 2779.5 | 1893.38 | 20465.88 | 180 | 16.72 | 3009.6 | 2046.588 | 59.325 | 25581.393
5 | M/S Sundaram Finance | 13.41 | 694 | 140 | 117 | 951 | 8.5 | 5899 | 1785 | 745.88 | 8429.88 | 180 | 4.57 | 822.6 | 842.988 | 23.775 | 10119.243
| TOTAL |  | 18950.6 | 8187 | 3521 | 30658.6 |  | 172652.9 | 112999.05 | 23897.19 | 309549.14 |  | 202.86 | 41180.8 | 30954.914 | 766.465 | 382451.319

## Table-3.12
(TABLE-3.12)
MONTHWISE DETAILS OF ELECTRICITY CHARGES COLLECTED FROM INDIVIDUAL BENEFICIARIES AT VADAKKE MADHAM BRAHMASWAM, THRISSUR FOR MARCH 2022
Sl. No. | Consumer Details | C. L KW | Energy Consumed |  |  |  | Energy Charge |  |  |  |  | Demand Charge |  |  | Duty 10% E.C Rs. | Surchage @ 2.5 ps for KWH Rs. | Total Bill Collected Rs.
|  |  | Normal Hrs | Peak Hrs | Off Peak Hrs | Actual Monthly Energy Consumed | Energy Tariff Rs. | Normal 100% Rs. | Peak 150% Rs. | Off Peak 75% Rs. | Total Energy Charge Rs. | Cont. Demand Tariff Rs. | Cont. Demand Charge (KVA) | Total Demand Charge Rs.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
1 | M/S Vadakke Madham Brahmaswam (Kalyanamandapam) | 34.05 | 493 | 147 | 222 | 862 | 9.3 | 4584.9 | 2050.65 | 1548.45 | 8184 | 140 | 10.44 | 1461.6 | 818.4 | 21.55 | 10485.55
2 | Vadakke Madham Brahmaswam (Common Use) | 21.88 | 3134.4 | 829.8 | 1386.4 | 5350.6 | 9.3 | 26642.4 | 10579.95 | 8838.31 | 46060.66 | 140 | 30.98 | 4337.2 | 4606.066 | 133.765 | 55137.691
3 | M/S Future Lifestyle Fashion Ltd. (Brand Factory) | 256.91 | 13163 | 3995 | 4121 | 21279 | 9.3 | 122415.9 | 55730.25 | 28743.98 | 206890.13 | 220 | 126.63 | 27858.6 | 20689.013 | 531.975 | 255969.718
4 | M/S CSB Bank Ltd. | 35.3 | 1912 | 264 | 290 | 2466 | 8.5 | 16252 | 3366 | 1848.75 | 21466.75 | 180 | 20.1 | 3618 | 2146.675 | 61.65 | 27293.075
5 | M/S Sundaram Finance | 13.41 | 836 | 166 | 130 | 1132 | 8.5 | 7106 | 2116.5 | 828.75 | 10051.25 | 180 | 5.08 | 914.4 | 1005.125 | 28.3 | 11999.075
| TOTAL |  | 19538.4 | 5401.8 | 6149.4 | 31089.6 |  | 177001.2 | 73843.35 | 41808.24 | 292652.79 |  | 193.23 | 38189.8 | 29265.279 | 777.24 | 360885.109

## Table-4
(TABLE-4)
TABLE OF RUNNING AND MAINTENANCE EXPENSES
a) | By way of salary to supervisor | 12x1400 | = | 168000
b) | By way of AMC of H.T Installation |  | = | 16520
--------------
| TOTAL |  |  | 184520
========

## Table-5
(TABLE-5)
BALANCE SHEET OF EXPENSES FOR RECEIVING AND DISTRIBUTING ELECTRIC POWER AT VADAKKE MADHAM BRAHMASWAM
Period: April 2011 to March 2022
Remittance |  |  | Collection
1 | By way of KWH Power Received | 2595616.11 | By way of KWH from Beneficiaries | 2902192.75
2 | By way of KVA Received | 847921.5 | By way of KVA from Beneficiaries | 444966.4
3 | By way of Surcharge paid up | 7537.36 | By way of Surcharge collected | 7225.81
4 | By way of Duty paid up | 287122.88 | By way of Duty collected | 290219.25
| Total amount paid up to supplier | 3738197.85 | Total amount collected | 3644604.21
| Running and Maintenance cost | 184520 | Deficit Amount | 278113.64
| Grand Total | 3922717.85 | Grand Total | 3922717.85

## Table-6
(TABLE-6)
PROPOSALS FOR NEW CONNECTIONS
SL. NO. | DETAILS OF NEW BENEFICIARIES | NATURE OF BUSINESS | CONNECTED LOAD KW |  | CONTRACT DEMAND
1 | IMMILAW PRIVATE LIMITED | IMMIGRATION LEGAL CONSULTANCY SERVICES | 4 | KW | 2 | KVA
2 | MANAPPURAM FOUNDATION | YOGA CENTRE | 23.235 | KW | 13 | KVA
3 | SBI LIFE INSURANCE COMPANY LIMITED | LIFE INSURANCE COMPANY | 60 | KW | 42 | KVA
4 | AECC INDIA PRIVATE LIMITED | OVERSEAS EDUCATION CONSULATANCY SERVICES | 22 | KW | 13 | KVA
TOTAL |  |  | 109.235 | KW | 70 | KVA
PROPOSAL FOR CHANGE IN CONNECTION OF NEW BENEFICIARY
The Brand Factory and Vadakke Madham Brahmaswam have terminated lease tenancy on mutual consent. Now Reliance Projects groups (Fashion Factory), proposes to take up same floor area and same electrical load of Brand Factory to start sales show room.
SL. NO. | DETAILS OF NEW BENEFICIARY | NATURE OF BUSINESS | CONNECTED LOAD KW |  | CONTRACT DEMAND
1 | RELIANCE PROJECTS & PROPERTY MANAGEMENT SERVICES LTD (FASHION FACTORY) | RETAIL STORE | 256.91 | KW | 125 | KVA